#1 Solar Panel Array
#2 DC Cable Array
#3 Battery Storage
#4 Copper Bus, Max Distance 2 feet
#5 15 KW Inverter
#6 Two Phase AC 100 AMP Per leg
#7 In Line Electric Water Heater
#8 Furnace Hot Water Feed
#9 Oil Boiler
#10 Cold Water
#11SE Hot Water